# Austin ISD Project

# New Site

Notification and Scheduling Pre-Installation Checklist

Site Name:

Completion Date:

| - Status | - Installation Checklist |  |  | - Who | - Notes |
| --- | --- | --- | --- | --- | --- |
|  | Pre-Installation (New Campuses) |  |  |  |  |
|  | - Review AISD Standards Documents including: - SECTION 271300 Communication Cable Plant - SECTION 275319 Notification and Scheduling System - Verify that all AISD standards are followed and manufacturer’s cabling certification is obtained. - Reference specifications in Appendix C |  |  | - VENDOR |  |
|  | - Review site floorplan to verify speaker termination points. |  |  | - VENDOR |  |
|  | - Verify cabling boundaries match the floor plan and that the speakers are run to the correct MDF/IDF. |  |  | - VENDOR |  |
|  | - Make note of any speaker cables not terminated. |  |  | - VENDOR |  |
|  | - Identify speaker cable run locations in electronic spreadsheet including cable number and room location. |  |  | - VENDOR |  |
|  | - Test all speaker cables and speaker connections. |  |  | - VENDOR |  |
|  | - Check to make sure all newly installed cable are labeled correctly in the MDF/IDF patch panels. Document all cables that do not pass cable test. |  |  | - VENDOR |  |
|  | - Label each speaker with IDF, port & room number. |  |  | - VENDOR |  |
|  | - Check overall speaker coverage and provide recommendations for additional speakers if needed. |  |  | - VENDOR |  |
|  | - Check total wattage draw of speakers and document findings on spreadsheet. |  |  | - VENDOR |  |
|  | - Check available rack space and provide equipment layout with total “U” count. |  |  | - VENDOR |  |
|  | - Verify electrical power requirements in MDF/IDF. - Check for new location of “Master” console and verify with campus of new console placement if required. |  |  | - VENDOR - VENDOR |  |
|  | - Document bell schedules, zone programming & bell tones needed by new campus. |  |  | - VENDOR |  |
|  | - Provide a schematic diagram describing design and installation. |  |  | - VENDOR |  |
|  | - Provide a complete parts list including price for each site. |  |  | - VENDOR |  |
|  | - Check general condition of room |  |  |  |  |
|  | - Take pictures of closets (before/after) Upload pictures to campus folder. |  |  | - VENDOR |  |
|  | - Check accessibility of equipment. If campus storage is blocking access make note, take pictures. (Upload pics in campus folder)" |  |  | - VENDOR |  |
|  | - Verify that all ceiling tiles are in place. Make note if any ceiling tiles are missing. |  |  | - VENDOR |  |
|  | - Verify correct electrical (Orange) 20-amp outlets are in place at each MDF/IDF |  |  | - VENDOR |  |
|  | - Verify each MDF/IDF has a stand alone A/C and is cooling properly. |  |  | - VENDOR |  |

END OF NEW SITE CHECKLIST