**NOTIFICATION AND SCHEDULING SYSTEM** (NSS)

Upgrade Project

Acceptance Checklist

**Site Name:**

**Inspector Name:**

**Inspection Date:**

This form is to be used by AISD personnel to document observations, issues, and punch list items discovered during post-installation site inspection(s). The inspector should bring the pre-installation design documentation (if applicable), the post-installation “as-built” documentation, the most current punch list, and a camera to document any issues. **AISD will not accept a school as finished until ALL documentation is correct and delivered to AISD.**

**MDF/IDFs:**

|  |  |  |
| --- | --- | --- |
| **Accepted** | **Description** | **Comments** |
|  | 1. Notification and Scheduling System |  |
|  | * 1. Is equipment installed in as-built? |  |
|  | * 1. Does workmanship installation follow industry standards specifications and manufactures instructions? |  |
|  | * 1. Is the PA System grounded properly? |  |
|  | * 1. Is the PA System backed up by UPS power? |  |
|  | * 1. Are all cable terminations neatly dressed, placed in wire management and correctly labeled? |  |
|  | * 1. Is all existing shielded cable grounded at the punch blocks? |  |
|  | * 1. Are inside/outside speakers installed as specified by manufacturer? |  |
|  | H. Remove all old PA legacy equipment not being used consoles, cabinets, cards, speakers etc. |  |
|  | I. is the Amplifier sized accordingly? Including 25% growth? |  |
|  | 1. Programming |  |
|  | * 1. Has all software been installed for a fully functioning PA System with mass communication? |  |
|  | * 1. Are the School’s existing bell schedules programmed? |  |
|  | * 1. Has the correct Zones and Tones been added? |  |
|  | * 1. Does each classroom, office, library, gym etc. room numbers correspond to the PA call number? |  |
|  |  |  |

**Campus:**

|  |  |  |
| --- | --- | --- |
| **Accepted** | **Description** | **Comments** |
|  | III. Testing & Training |  |
|  | * 1. Verify access code from Campus Cisco phone to PA system repeat for a total of four times to test FXO/SIP connection. |  |
|  | * 1. Verify emergency All Call and Zone paging with PA console and Cisco campus phones. |  |
|  | * 1. Verify each speaker connection by making a main office intercom call to each classroom, office, library, gym, cafeteria etc. |  |
|  | * 1. Test remote speaker volume control and verify acceptable level of loudness and clarity for all speakers. |  |
|  | * 1. Manually test bell tones. |  |
|  | * 1. Provide training for Office staff. |  |
|  | G. Provide room call list to office staff. |  |
|  |  |  |
|  |  |  |

|  |  |  |
| --- | --- | --- |
| **Accepted** | **Description** | **Comments** |
|  | IV. Documentaion |  |
|  | 1. Has documentation been provided visio, cd, etc. to Telecom or NSS Department? |  |
|  | B. Did office staff receive complete PA operation documents? |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

Check Speaker location, switchport accuracy, labeling, etc.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AP# | RM# | Drop# | Switch | Switchport | Comments |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |