NOTIFICATION AND SCHEDULING SYSTEM (NSS)

# Upgrade Project

Acceptance Checklist

Site Name:

Inspector Name:

Inspection Date:

This form is to be used by AISD personnel to document observations, issues, and punch list items discovered during post-installation site inspection(s). The inspector should bring the pre-installation design documentation (if applicable), the post-installation “as-built” documentation, the most current punch list, and a camera to document any issues. AISD will not accept a school as finished until ALL documentation is correct and delivered to AISD.

MDF/IDFs:

| Accepted | Description | Comments |
| --- | --- | --- |
|  | - Notification and Scheduling System |  |
|  | - Is equipment installed in as-built? |  |
|  | - Does workmanship installation follow industry standards specifications and manufactures instructions? |  |
|  | - Is the PA System grounded properly? |  |
|  | - Is the PA System backed up by UPS power? |  |
|  | - Are all cable terminations neatly dressed, placed in wire management and correctly labeled? |  |
|  | - Is all existing shielded cable grounded at the punch blocks? |  |
|  | - Are inside/outside speakers installed as specified by manufacturer? |  |
|  | H. Remove all old PA legacy equipment not being used consoles, cabinets, cards, speakers etc. |  |
|  | I. is the Amplifier sized accordingly? Including 25% growth? |  |
|  | - Programming |  |
|  | - Has all software been installed for a fully functioning PA System with mass communication? |  |
|  | - Are the School’s existing bell schedules programmed? |  |
|  | - Has the correct Zones and Tones been added? |  |
|  | - Does each classroom, office, library, gym etc. room numbers correspond to the PA call number? |  |

Campus:

| Accepted | Description | Comments |
| --- | --- | --- |
|  | III. Testing & Training |  |
|  | - Verify access code from Campus Cisco phone to PA system repeat for a total of four times to test FXO/SIP connection. |  |
|  | - Verify emergency All Call and Zone paging with PA console and Cisco campus phones. |  |
|  | - Verify each speaker connection by making a main office intercom call to each classroom, office, library, gym, cafeteria etc. |  |
|  | - Test remote speaker volume control and verify acceptable level of loudness and clarity for all speakers. |  |
|  | - Manually test bell tones. |  |
|  | - Provide training for Office staff. |  |
|  | G. Provide room call list to office staff. |  |

| Accepted | Description | Comments |
| --- | --- | --- |
|  | IV. Documentaion |  |
|  | - Has documentation been provided visio, cd, etc. to Telecom or NSS Department? |  |
|  | B. Did office staff receive complete PA operation documents? |  |

Check Speaker location, switchport accuracy, labeling, etc.

| AP# | RM# | Drop# | Switch | Switchport | Comments |
| --- | --- | --- | --- | --- | --- |