## Sheet1
HACCP MANAGER 20IFB116 - ATTACHMENT A LINE ITEM SPECIFICATIONS
THIS FORM MUST BE SUBMITTED AS A WORKABLE DOCUMENT ON A FLASHDRIVE WITH SEALED PROPOSAL
THE DISTRICT IS NOT SEEKING TRAINING OR SOFTWARE HOSTING |  |  |  |  | INSTRUCTIONS: Enter price per unit, brand and product number, and any additional comments regarding the item
ITEM # | PRODUCT NAME | DESCRIPTION | QTY | APPROVED BRAND OR APPROVED EQUAL | PRICE PER UNIT | SUPPLIER BRAND/PRODUCT # | VENDOR COMMENTS
1 | Food Service HACCP Manager Kit | Kit to include items listed below Handheld device, Probe, Battery Charger - transfers data easily to/from handhel via USB cable - stores up to 3000 temperatures and 300 menu items - accepts all type K themoecouple probles - creates custom checklist | 180 each | Cooper-Atkins 93710 OR Approved Equal
| Food Service HACCP Manager, Handheld device | Handheld Temperature data-collecting instrument Temperature range: -99.9 to 999.9 degress F (-73.2 to 537.7 degress C) Accuracy: +/- 1 degree F (+/- 0.5 degree C) or +/-0.2% of reading Ambien Water resistant Rechargable lithium ion battery 5-year Warranty |  | Cooper-Atkins 37100 OR Approved Equal
| Food Service HACCP Manager, MicroNeedle Probe | Probe, MicroNeedle Probe Temperature Range: Response Time: 1 second (liquid) Max Tip Temp: 500 degrees F (260 degrees C) Max Cable Temp: 176 degress F (80 degrees C) Extended Cable Length: 48" (1.2 m) Shaft Length: 3.5 " (89 mm) 1-year Warranty |  | Cooper-Atkins 50209-K OR Approved Equal
| Food Service HACCP Manager, Battery Charger | Battery Charger Lithium ion battery |  | Cooper-Atkins 9382 OR Approved Equal
2 | Delivery to AISD Central Warehouse | If applicable, 3701 Woodbury Dr., Austin, TX 78704