## Section 1 - Core Device - 9500
SECTION 1. CAMPUS COST ESTIMATE DETAILS
All services and products referenced are listed to establish minimum specifications for this RFP. Austin ISD will review and evaluate equivalent products submitted in response to this RFP.
Add any additional columns as required to support your proposal. Modify any existing column with your part numbers and cost as necessary
21RFP059 Campous Distribution Switches | Campus | Model | Expansion Card | SFP-10G-LR-S | SFP-10G-SR-S | Current Switch | C9500-40X-EDU | C9500-DNA-A-3Y | PWR-C4-950WAC-R/2 | SFP-10G-LR-S= | SFP-10G-SR-S | C9500-16X | C9500-DNA-L-A-3Y | C9500-NM-8X | C9300-48UN-EDU | C9300-DNA-E-48-7Y | C9300-MM-8X | 9300 PWR-C5-1KWAC/2 | SFP-H10GB-CU1M= | LC-ST JUMPER (3M,MM) | LC-ST JUMPER (10M,SM) | CAB-CONSOLE-USB | CON-SNT-C9500-4X | CON-SNT-C950DU16 | INSTALL 9300 / 9500 | INSTALLION MATERIALS | PROJECT MANAGEMENT
Unit Cost | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Andrews ES | Andrews | WS-C9500-16X | C9500-NM-8X | 2 | 6 | C4506E | 0 | 0 | 1 | 2 | 6 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 6 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Brooke ES | Brooke | WS-C9500-16X | C9500-NM-8X | 2 | 8 | C4506E | 0 | 0 | 1 | 2 | 8 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 8 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Bus Terminal - Southeast (247) | SE Bus Barn | WS-C9500-16X |  | 2 | 2 | C4506E | 0 | 0 | 1 | 2 | 4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Campbell ES | Campbell | WS-C9500-16X |  | 2 | 4 | C4506E | 0 | 0 | 1 | 2 | 4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Coy Facility | Allan | WS-C9500-16X | C9500-NM-8X |  |  | C4506E | 0 | 0 | 1 | 2 | 6 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 6 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Cunningham ES | Cunningham | WS-C9500-16X | C9500-NM-8X | 2 | 8 | C4506E | 0 | 0 | 1 | 2 | 8 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 8 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Dawson ES | Dawson | WS-C9500-16X | C9500-NM-8X | 2 | 8 | C4506E | 0 | 0 | 1 | 2 | 8 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 8 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Eastside Memorial | Eastside Memorial | WS-C9500-40X |  | 2 | 22 | C4510RE | 1 | 0 | 1 | 2 | 22 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 22 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Joslin ES | Joslin | WS-C9500-16X | C9500-NM-8X | 4 | 8 | C4506E | 0 | 0 | 1 | 4 | 8 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 8 | 4 | 1 | 0 | 1 | 1 | 1 | 1
Linder ES | Linder | WS-C9500-16X |  | 2 | 4 | C4506E | 0 | 0 | 1 | 2 | 4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Metz ES | Metz | WS-C9500-16X |  | 2 | 4 | C4506E | 0 | 0 | 1 | 2 | 4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Navarro HS | Navarro HS | WS-C9500-40X | C9500-NM-8X | 2 | 24 | C4510RE | 1 | 0 | 1 | 2 | 24 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 24 | 2 | 1 | 1 | 0 | 1 | 1 | 1
Northeaset ECHS | Northeaset ECHS | WS-C9500-40X |  | 2 | 24 | C4510RE | 1 | 0 | 1 | 2 | 24 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 24 | 2 | 1 | 1 | 0 | 1 | 1 | 1
Oak Springs ES | Oak Springs | WS-C9500-16X | C9500-NM-8X | 2 | 6 | C4506E | 0 | 0 | 1 | 2 | 6 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 6 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Odom | Odom | WS-C9500-16X | C9500-NM-8X | 2 | 8 | C4506E | 0 | 0 | 1 | 2 | 8 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 8 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Ortega ES | Ortega | WS-C9500-16X | C9500-NM-8X | 2 | 4 | C4506E | 0 | 0 | 1 | 2 | 4 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 4 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Pecan Springs ES | Pecan Springs | WS-C9500-16X | C9500-NM-8X | 3 | 8 | C4506E | 0 | 0 | 1 | 3 | 8 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 8 | 3 | 1 | 0 | 1 | 1 | 1 | 1
Pleasant Hill ES | Pleasant Hill ES | WS-C9500-16X | C9500-NM-8X | 2 | 8 | C4506E | 0 | 0 | 1 | 2 | 8 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 8 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Reilly ES | Reilly | WS-C9500-16X | C9500-NM-8X | 2 | 4 | C4506E | 0 | 0 | 1 | 2 | 4 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 4 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Rodriguez ES | Rodriguez | WS-C9500-16X | C9500-NM-8X | 2 | 10 | C4506E | 0 | 0 | 1 | 2 | 10 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 10 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Saegert | Saegert | WS-C9500-16X |  | 2 | 4 | C3600 | 0 | 0 | 1 | 2 | 4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Sims ES | Sims | WS-C9500-16X |  | 2 | 4 | C4506E | 0 | 0 | 1 | 2 | 4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 2 | 1 | 0 | 1 | 1 | 1 | 1
St. Elmo ES | St. Elmo | WS-C9500-16X |  | 2 | 6 | C4506E | 0 | 0 | 1 | 2 | 6 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 6 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Thompson ES | Thompson | WS-C9500-16X | C9500-NM-8X | 2 | 8 | C4506E | 0 | 0 | 1 | 2 | 8 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 8 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Travis HS | Travis | WS-C9500-40X | C9500-NM-8X | 0 | 37 | C4510RE | 1 | 0 | 1 | 0 | 37 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 4 | 37 | 0 | 1 | 1 | 0 | 1 | 1 | 1
Uphaus ECDS | Uphaus | WS-C9500-16X |  | 2 | 6 | C4506E | 0 | 0 | 1 | 2 | 6 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 6 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Winn ES | Winn | WS-C9500-16X | C9500-NM-8X | 2 | 8 | C4506E | 0 | 0 | 1 | 2 | 8 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 8 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Zavala ES | Zavala | WS-C9500-16X |  | 2 | 4 | C4506E | 0 | 0 | 1 | 2 | 4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 2 | 1 | 0 | 1 | 1 | 1 | 1
Phoenix Center | Phoenix Center | C9300-48UN-EDU |  | 2 | 2 | C3600 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 2 | 2 | 1 | 0 | 0 | 1 | 1 | 1
CTECC GAATN Room | CTECC GAATN Room | C9300-48UN-EDU |  | 4 | 0 | C3600 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 0 | 4 | 2 | 0 | 0 | 1 | 1 | 1
CAPS | CAPS | C9300-48UN-EDU |  | 2 | 2 | C3600 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 2 | 2 | 1 | 0 | 0 | 1 | 1 | 1
|  |  |  | 63 | 251 |  | 4 | 0 | 28 | 65 | 259 | 24 | 28 | 17 | 4 | 4 | 4 | 4 | 60 | 259 | 65 | 32 | 3 | 25 | 31 | 31 | 31
Totals | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All services and products referenced are listed to establish minimum specifications for this RFP. Austin ISD will review and evaluate equivalent products submitted in response to this RFP.
Note: C9300-48UN: each switcch needs second power supply. Each switch needs one C9300-NM-8X (8x10G Uplink Module)
Note on J6: John Judice: 2 power supplies required not redundant
Note on K6: John Judice: 2 LR optics for REP ring.
Note on L6: John Judice: planning to reuse existing optics MDF-IDF/portable need 2 additional for MDF side/IDF
Note on M6: John Judice: For < 16 ports
Note on O6: John Judice: to add 8 pts to units for 40pt or 16pt
Note on T6: John Judice: DAC cable for MDF REP switch loop - 2
Note on U6: John Judice: 2/STACK + 1 Portable
Note on V6: John Judice: 2/STACK + 1 Portable
Note on W6: John Judice: usb console cable ?

## Section 2 - Unit Cost
SECTION 2. UNIT COST WORKSHEET
All services and products referenced are listed to establish minimum specifications for this RFP. Austin ISD will review and evaluate equivalent products submitted in response to this RFP.
Add rows or Modify any row below as necessary for, anything your Proposal needs below.
MANUFACTURER | PART # | DESCRIPTION OF PRODUCT OR SERVICE | LIST COST - PER UNIT | DISCOUNT - PER UNIT | DISCOUNTED COST - PER UNIT
Cisco | C9500-40X-EDU | Catalyst 9500 40-port 10G, K12
Cisco | C9500-NW-A-EDU | C9500 Network Advantage, high-density license K12
Cisco | C9500-DNA-A-3Y | Cisco Catalyst 9500 DNA Advantage 3 Year License
Cisco | PWR-C4-950WAC-R/2 | 950W AC Config 4 Power Supply front to back cooling
Cisco | SFP-10G-LR-S= | 10GBASE-LR SFP Module, Enterprise-Class
Cisco | SFP-10G-SR-S | 10GBASE-SR SFP Module, Enterprise-Class
Cisco | SFP-10G-LRM= | 10GBASE-LRM SFP Module
Cisco | CON-SNT-C9500-4X | SNTC-8X5XNBD Catalyst 9500 40-port 10G, K12
Cisco | C9500-16X-EDU | Catalyst 9500 16-port 10G, K12
Cisco | C9500-NW-A-L-EDU | C9500 Network Advantage, high-density license K12
Cisco | C9500-DNA-L-A-3Y | Cisco Catalyst 9500 DNA Advantage 3 Year License
Cisco | C9500-NM-8X | Catalyst 9500 8 x 10GE Network Module
Cisco | CON-SNT-C950DU16 | SNTC-8X5XNBD Catalyst 9500 16-port 10G, K12
Cisco | C9300-48UN-EDU | Cisco Catalyst 9300 Series 48-Port 5 Gbps UPOE ports (100M, 1, 2.5, 5G)
Cisco | C9300-DNA-E-48-7Y | Cisco Catalyst 9300 DNA Advantage 7 Year License
Cisco | C9300-MM-8X | Network Module Expansion Module For Catalyst 9300
Cisco | PWR-C5-1KWAC/2 | 9300 1000W AC Power Supply
Bidder | ADDITIONAL MATERIALS | Any additional materials required for this project
Bidder | INSTALLATION | Installation and configuration costs for this equipment
Bidder | PROJECT MGMT | Project management costs for this project
Please add rows above for any additional items that will be needed for implementation of a comprehensive solution
All services and products referenced are listed to establish minimum specifications for this RFP. Austin ISD will review and evaluate equivalent products submitted in response to this RFP.
Note on C10: John Judice: 2 power supplies required not redundant
Note on C11: John Judice: 2 LR optics for REP ring.
Note on C12: John Judice: planning to reuse existing optics MDF-IDF/portable need 2 additional for MDF side/IDF
Note on C13: John Judice: for new campuses with SM to IDFs, portables
Note on C18: John Judice: to add 8 pts to units for 40pt or 16pt